## pH to mV from calibration
Nernst Slope at 25degC with offsets
pH | mV from calibration | "+25mV" | "-25mV"
4 | 177.48 | 202.48 | 152.48 |  | slope1 | -59.16 | slope1% | 100 |  | acceptable probe offset from 0mV at pH7
7 | 0 | 25 | -25 |  | slope2 | -59.16 | slope2% | 100 |  | "+- 25 mV"
10 | -177.48 | -152.48 | -202.48
3 | 236.64 | 261.64 | 211.64 | [6 empty] | acceptable slope offset
3.5 | 207.06 | 232.06 | 182.06 | [6 empty] | 85-105%
Use calibration generated slope to calculate mV
Enter from calibration
|  | no offset at pH7 | offset at pH 7
7.4
pH | slope | mV | mV |  | slope% |  | dispense increment Volume |  |  |  | sample id | cup mass | sample +cup | sample mass | sample #
4 | 57.19 | 171.57 | 178.97 |  | 96.67 |  | 0.02 | mL |  |  | SAC-1 | 7.297 | 58.812 | 51.515 | 1
7 |  | 0 | 7.4 |  |  |  | 0.4 | 0.05 | 0.02 |  | P-0078-1 | 7.269 | 64.487 | 57.218 | 2
10 |  | -171.57 | -164.17 | [7 empty] | P-0078-2 | 7.296 | 61.489 | 54.193 | 3
3.5 |  | 200.165 | 207.565 | Gran titration "upper bound" aka Ehigh |  |  | first aliquot |  |  |  | P-0078-3 | 7.292 | 62.585 | 55.293 | 4
3 |  | 228.76 | 236.16 | Gran titration "lower bound" aka Elow |  |  | 1.2 | mL |  |  | P-0078-4 | 7.292 | 60.242 | 52.95 | 5
3.7 |  | 188.727 | 196.127 | Enter This value to end first titration, round down to next mV | [6 empty] | P-0078-5 | 7.304 | 61.341 | 54.037 | 6
2.8 |  | 240.198 | 247.598 | Enter This value to end gran titration, round up to next mV | [6 empty] | P-0078-6 | 7.292 | 60.462 | 53.17 | 7
[11 empty] | P-0078-7 | 7.284 | 61.013 | 53.729 | 8
[11 empty] | SAC-2 | 7.267 | 58.826 | 51.559 | 9
[11 empty] | ALKCRM-1 | 7.269 | 60.635 | 53.366 | 10
[11 empty] | ALKCRM-2 | 7.289 | 61.274 | 53.985 | 11
[11 empty] | ALKCRM-3 | 7.274 | 59.339 | 52.065 | 12

## sample metadata
sample id | sample mass | salinity | in situ temperature | ETris | pHTris | EHigh | ELow
SAC-1 | 51.515 | 30 | 17 | 7.4 | 7 | 207.565 | 236.16
P-0078-1 | 57.218 | 30.2 | 14 | 7.4 | 7 | 207.565 | 236.16
P-0078-2 | 54.193 | 30.2 | 14 | 7.4 | 7 | 207.565 | 236.16
P-0078-3 | 55.293 | 30.2 | 14 | 7.4 | 7 | 207.565 | 236.16
P-0078-4 | 52.95 | 30.2 | 14 | 7.4 | 7 | 207.565 | 236.16
P-0078-5 | 54.037 | 30.2 | 14 | 7.4 | 7 | 207.565 | 236.16
P-0078-6 | 53.17 | 30.2 | 14 | 7.4 | 7 | 207.565 | 236.16
P-0078-7 | 53.729 | 30.2 | 14 | 7.4 | 7 | 207.565 | 236.16
SAC-2 | 51.559 | 30 | 17 | 7.4 | 7 | 207.565 | 236.16
ALKCRM-1 | 53.366 | 33.525 | 18 | 7.4 | 7 | 207.565 | 236.16
ALKCRM-2 | 53.985 | 33.525 | 18 | 7.4 | 7 | 207.565 | 236.16
ALKCRM-3 | 52.065 | 33.525 | 18 | 7.4 | 7 | 207.565 | 236.16