## pH to mV from calibration
Nernst Slope at 25degC with offsets
pH | mV from calibration | "+25mV" | "-25mV"
4 | 177.48 | 202.48 | 152.48 |  | slope1 | -59.16 | slope1% | 100 |  | acceptable probe offset from 0mV at pH7
7 | 0 | 25 | -25 |  | slope2 | -59.16 | slope2% | 100 |  | "+- 25 mV"
10 | -177.48 | -152.48 | -202.48
3 | 236.64 | 261.64 | 211.64 | [6 empty] | acceptable slope offset
3.5 | 207.06 | 232.06 | 182.06 | [6 empty] | 85-105%
Use calibration generated slope to calculate mV
Enter from calibration
|  | no offset at pH7 | offset at pH 7
-5
pH | slope | mV | mV |  | slope% |  | dispense increment Volume |  |  |  | sample id | cup # | cup mass | sample +cup | sample mass | sample #
4 | 57.54 | 172.62 | 167.62 |  | 97.2617 |  | 0.02 | mL |  |  | SAC-1 | 5 | 7.298 | 58.893 | 51.595 | 1
7 |  | 0 | -5 |  |  |  | 0.4 | 0.05 | 0.02 |  | BaySTD2-1 | 6 | 7.268 | 58.121 | 50.853 | 2
10 |  | -172.62 | -177.62 | [7 empty] | BaySTD2-2 | 7 | 7.285 | 57.869 | 50.584 | 3
3.5 |  | 201.39 | 196.39 | Gran titration "upper bound" aka Ehigh |  |  | first aliquot |  |  |  | SAC-2 | 8 | 7.287 | 58.706 | 51.419 | 4
3 |  | 230.16 | 225.16 | Gran titration "lower bound" aka Elow |  |  | 1.2 | mL |  |  | T6-702-1 | 9 | 7.273 | 57.786 | 50.513 | 5
3.7 |  | 189.882 | 184.882 | Enter This value to end first titration, round down to next mV | [6 empty] | T6-702-2 | 10 | 7.293 | 58.159 | 50.866 | 6
2.8 |  | 241.668 | 236.668 | Enter This value to end gran titration, round up to next mV | [6 empty] | T27-719-1 | 11 | 7.289 | 57.235 | 49.946 | 7
[11 empty] | T27-719-2 | 12 | 7.273 | 57.257 | 49.984 | 8
[11 empty] | T10-719-1 | 13 | 7.269 | 58.351 | 51.082 | 9
[11 empty] | T10-719-2 | 14 | 7.291 | 58.338 | 51.047 | 10
[11 empty] | T36-719-1 | 15 | 7.287 | 57.711 | 50.424 | 11
[11 empty] | T36-719-2 | 16 | 7.289 | 58.103 | 50.814 | 12

## sample metadata
sample id | sample mass | salinity | in situ temperature | ETris | pHTris | EHigh | ELow
SAC-1 | 51.595 | 30 | 25 | -5 | 7 | 196.39 | 225.16
BaySTD2-1 | 50.853 | 30.34 | 14.11 | -5 | 7 | 196.39 | 225.16
BaySTD2-2 | 50.584 | 30.34 | 14.11 | -5 | 7 | 196.39 | 225.16
SAC-2 | 51.419 | 27 | 25 | -5 | 7 | 196.39 | 225.16
T6-702-1 | 50.513 | 26.89 | 16.77 | -5 | 7 | 196.39 | 225.16
T6-702-2 | 50.866 | 26.87 | 16.81 | -5 | 7 | 196.39 | 225.16
T27-719-1 | 49.946 | 27.35 | 16.06 | -5 | 7 | 196.39 | 225.16
T27-719-2 | 49.984 | 27.35 | 16.06 | -5 | 7 | 196.39 | 225.16
T10-719-1 | 51.082 | 27.37 | 16.06 | -5 | 7 | 196.39 | 225.16
T10-719-2 | 51.047 | 27.37 | 16.06 | -5 | 7 | 196.39 | 225.16
T36-719-1 | 50.424 | 27.34 | 16 | -5 | 7 | 196.39 | 225.16
T36-719-2 | 50.814 | 27.34 | 16 | -5 | 7 | 196.39 | 225.16