## pH to mV from calibration
Nernst Slope at 25degC with offsets
pH | mV from calibration | "+25mV" | "-25mV"
4 | 177.48 | 202.48 | 152.48 |  | slope1 | -59.16 | slope1% | 100 |  | acceptable probe offset from 0mV at pH7
7 | 0 | 25 | -25 |  | slope2 | -59.16 | slope2% | 100 |  | "+- 25 mV"
10 | -177.48 | -152.48 | -202.48
3 | 236.64 | 261.64 | 211.64 | [6 empty] | acceptable slope offset
3.5 | 207.06 | 232.06 | 182.06 | [6 empty] | 85-105%
Use calibration generated slope to calculate mV
Enter from calibration
|  | no offset at pH7 | offset at pH 7
-4.8
pH | slope | mV | mV |  | slope% |  | dispense increment Volume |  |  |  | sample id | cup # | cup mass | sample +cup | sample mass | sample #
4 | 57.24 | 171.72 | 166.92 |  | 96.7546 |  | 0.02 | mL |  |  | SAC-1 | 5 | 7.266 | 58.8 | 51.534 | 1
7 |  | 0 | -4.8 |  |  |  | 0.4 | 0.05 | 0.02 |  | BaySTD2-1 | 6 | 7.302 | 57.468 | 50.166 | 2
10 |  | -171.72 | -176.52 | [7 empty] | BaySTD2-2 | 7 | 7.279 | 57.877 | 50.598 | 3
3.5 |  | 200.34 | 195.54 | Gran titration "upper bound" aka Ehigh |  |  | first aliquot |  |  |  | SAC-2 | 8 | 7.285 | 58.658 | 51.373 | 4
3 |  | 228.96 | 224.16 | Gran titration "lower bound" aka Elow |  |  | 1.2 | mL |  |  | T16-719-1 | 9 | 7.89 | 58.221 | 50.331 | 5
3.7 |  | 188.892 | 184.092 | Enter This value to end first titration, round down to next mV | [6 empty] | T16-719-2 | 10 | 7.283 | 57.279 | 49.996 | 6
2.8 |  | 240.408 | 235.608 | Enter This value to end gran titration, round up to next mV | [6 empty] | T12-708-1 | 11 | 7.294 | 57.89 | 50.596 | 7
[11 empty] | T12-708-2 | 12 | 7.296 | 57.908 | 50.612 | 8
[11 empty] | SAC-3 | 13 | 7.279 | 58.54 | 51.261 | 9
[11 empty] | T6-708-1 | 14 | 7.296 | 58.174 | 50.878 | 10
[11 empty] | T6-708-2 | 15 | 7.284 | 57.962 | 50.678 | 11
[11 empty] | T20-708-1 | 16 | 7.301 | 57.917 | 50.616 | 12
[11 empty] | T20-708-2 | 17 | 7.296 | 58.126 | 50.83 | 13

## sample metadata
sample id | sample mass | salinity | in situ temperature | ETris | pHTris | EHigh | ELow
SAC-1 | 51.534 | 30 | 25 | -4.8 | 7 | 195.54 | 224.16
BaySTD2-1 | 50.166 | 30.34 | 14.11 | -4.8 | 7 | 195.54 | 224.16
BaySTD2-2 | 50.598 | 30.34 | 14.11 | -4.8 | 7 | 195.54 | 224.16
SAC-2 | 51.373 | 27 | 25 | -4.8 | 7 | 195.54 | 224.16
T16-719-1 | 50.331 | 27.34 | 16 | -4.8 | 7 | 195.54 | 224.16
T16-719-2 | 49.996 | 27.33 | 16 | -4.8 | 7 | 195.54 | 224.16
T12-708-1 | 50.596 | 27.24 | 16.81 | -4.8 | 7 | 195.54 | 224.16
T12-708-2 | 50.612 | 27.23 | 16.81 | -4.8 | 7 | 195.54 | 224.16
SAC-3 | 51.261 | 25 | 25 | -4.8 | 7 | 195.54 | 224.16
T6-708-1 | 50.878 | 25.14 | 18.5 | -4.8 | 7 | 195.54 | 224.16
T6-708-2 | 50.678 | 25.13 | 18.5 | -4.8 | 7 | 195.54 | 224.16
T20-708-1 | 50.616 | 25.21 | 18.56 | -4.8 | 7 | 195.54 | 224.16
T20-708-2 | 50.83 | 25.2 | 18.56 | -4.8 | 7 | 195.54 | 224.16