## pH to mV from calibration
Nernst Slope at 25degC with offsets
pH | mV from calibration | "+25mV" | "-25mV"
4 | 177.48 | 202.48 | 152.48 |  | slope1 | -59.16 | slope1% | 100 |  | acceptable probe offset from 0mV at pH7
7 | 0 | 25 | -25 |  | slope2 | -59.16 | slope2% | 100 |  | "+- 25 mV"
10 | -177.48 | -152.48 | -202.48
3 | 236.64 | 261.64 | 211.64 | [6 empty] | acceptable slope offset
3.5 | 207.06 | 232.06 | 182.06 | [6 empty] | 85-105%
Use calibration generated slope to calculate mV
Enter from calibration
|  | no offset at pH7 | offset at pH 7
8.2
pH | slope | mV | mV |  | slope% |  | dispense increment Volume |  |  |  | sample id | cup mass | sample +cup | sample mass | sample #
4 | 57.24 | 171.72 | 179.92 |  | 96.7546 |  | 0.02 | mL |  |  | SAC-1 | 7.273 | 58.892 | 51.619 | 1
7 |  | 0 | 8.2 |  |  |  | 0.4 | 0.05 | 0.02 |  | P-0023-1 | 7.291 | 61.36 | 54.069 | 2
10 |  | -171.72 | -163.52 | [7 empty] | P-0023-2 | 7.276 | 61.131 | 53.855 | 3
3.5 |  | 200.34 | 208.54 | Gran titration "upper bound" aka Ehigh |  |  | first aliquot |  |  |  | P-0023-3 | 7.292 | 59.499 | 52.207 | 4
3 |  | 228.96 | 237.16 | Gran titration "lower bound" aka Elow |  |  | 1.2 | mL |  |  | B-0041-1 | 7.279 | 60.571 | 53.292 | 5
3.7 |  | 188.892 | 197.092 | Enter This value to end first titration, round down to next mV | [6 empty] | B-0041-2 | 7.269 | 59.413 | 52.144 | 6
2.8 |  | 240.408 | 248.608 | Enter This value to end gran titration, round up to next mV | [6 empty] | B-0041-3 | 7.284 | 58.528 | 51.244 | 7
[11 empty] | P-0034-1 | 7.292 | 58.36 | 51.068 | 8
[11 empty] | P-0034-2 | 7.265 | 59.823 | 52.558 | 9
[11 empty] | P-0034-3 | 7.289 | 59.387 | 52.098 | 10
[11 empty] | SAC-2 | 7.287 | 58.459 | 51.172 | 11
[11 empty] | BAYSTD1-1 | 7.271 | 59.1 | 51.829 | 12
[11 empty] | BAYSTD1-2 | 7.295 | 58.896 | 51.601 | 13
[11 empty] | BAYSTD1-3 | 7.289 | 59.686 | 52.397 | 14

## sample metadata
sample id | sample mass | salinity | in situ temperature | ETris | pHTris | EHigh | ELow
SAC-1 | 51.619 | 27 | 17.6 | 8.2 | 7 | 208.54 | 237.16
P-0023-1 | 54.069 | 27.1 | 16.4 | 8.2 | 7 | 208.54 | 237.16
P-0023-2 | 53.855 | 27.1 | 16.4 | 8.2 | 7 | 208.54 | 237.16
P-0023-3 | 52.207 | 27.1 | 16.4 | 8.2 | 7 | 208.54 | 237.16
B-0041-1 | 53.292 | 26.958 | 19.818 | 8.2 | 7 | 208.54 | 237.16
B-0041-2 | 52.144 | 26.958 | 19.818 | 8.2 | 7 | 208.54 | 237.16
B-0041-3 | 51.244 | 26.958 | 19.818 | 8.2 | 7 | 208.54 | 237.16
P-0034-1 | 51.068 | 25.968 | 17.318 | 8.2 | 7 | 208.54 | 237.16
P-0034-2 | 52.558 | 25.968 | 17.318 | 8.2 | 7 | 208.54 | 237.16
P-0034-3 | 52.098 | 25.968 | 17.318 | 8.2 | 7 | 208.54 | 237.16
SAC-2 | 51.172 | 27.5 | 19.8 | 8.2 | 7 | 208.54 | 237.16
BAYSTD1-1 | 51.829 | 27.53 | 11.92 | 8.2 | 7 | 208.54 | 237.16
BAYSTD1-2 | 51.601 | 27.53 | 11.92 | 8.2 | 7 | 208.54 | 237.16
BAYSTD1-3 | 52.397 | 27.53 | 11.92 | 8.2 | 7 | 208.54 | 237.16